Приложение № 2

к Соглашению о сотрудничестве №         /17 от «____» __________2017г.

Таблица нарушений основных требований при проведении мероприятий в

МВЦ «КРОКУС ЭКСПО»

| № п/п | Нарушение | Пункт основных требований | Штраф | Примечание |
| --- | --- | --- | --- | --- |
| 1. | Проведение монтажных работ на основании проектно-технической документации, не прошедшей согласования в установленном порядке: - монтаж ведёт другая компания; - не соответствие конструкции поданной проектно-технической документации; - подвесная конструкция без согласования. | 4.1., 4.2., 4.3., 4.4., 4.5., 4.6. | 60 000 рублей или лишение аккредитации на срок до 1 года. В случае повторного нарушения лишение аккредитации может быть бессрочным. | штраф налагается представителем Генерального застройщика |
| 2. | Нарушение правил складирования строительных материалов и конструкций, в том числе при монтаже и демонтаже: - загромождение проходов; - складирование оборудования, а также предметов личного обихода на стендах других компаний. | 4.10. | 10 000 рублей и лишение аккредитации на срок до 1 месяца | штраф налагается представителем Генерального застройщика |
| 3. | Использование силикатного стекла при монтаже выставочного стенда запрещено. Допускается использование специального стекла типа триплекс или органические стекла . | 4.12. | 25 000 рублей и лишение аккредитации на срок до 3 месяцев | штраф налагается представителем Генерального застройщика |
| 4. | Использование ручного электроинструмента, не оборудованного пылеотсосом, а также применение стационарных циркульных пил. | 4.14. | 25 000 рублей и лишение аккредитации на срок до 6 месяцев | штраф налагается представителем Генерального застройщика |
| 5. | Использование при производстве работ открытого огня, выполнение сварочных или огневых работ, обработка металла углошлифовальными машинами (УШМ). | 4.14. | 25 000 рублей и лишение аккредитации на срок до 6 месяцев | штраф налагается представителем Генерального застройщика |
| 6. | Нарушение правил производства монтажных работ на высоте. | 4.22. | 20 000 рублей и лишение аккредитации на срок до 6 месяцев | штраф налагается представителем Генерального застройщика |
| 7. | Порча напольного покрытия выставочных залов: - производство покрасочных работ без закрытия пола выставочного зала защитной плёнкой; - оставление после демонтажа остатков скотча на полу зала. | 4.13., 4.26. | 25 000 рублей и лишение аккредитации на срок до 1 месяца | штраф налагается представителем Генерального застройщика |
| 8. | Нарушение правил выполнения электротехнических работ в МВЦ «Крокус Экспо». | 10 | 20 000 рублей и лишение аккредитации на срок до 3 месяцев | штраф налагается представителем Генерального застройщика |
| 9. | Нарушение графика проведения монтажных/демонтажных работ (монтаж в день открытия). | 4.9. | 20 000 рублей и лишение аккредитации на срок до 3 месяцев | штраф налагается представителем Генерального застройщика |
| 10. | Демонтаж путём обрушения выставочных стендов. | 4.24. | 30 000 рублей и лишение аккредитации на срок до 6 месяцев | штраф налагается представителем Генерального застройщика |
| 11. | Отсутствие информационного штендера установленного образца во время проведения монтажных/демонтажных работ. | 4.28. | 10 000 рублей и лишение аккредитации на срок до 1 месяца | штраф налагается представителем Генерального застройщика |
| 12. | Отсутствие ответственного за производство работ на стенде в период проведение монтажа/демонтажа. | 4.25. | 10 000 рублей и лишение аккредитации на срок до 1 месяца | штраф налагается представителем Генерального застройщика |
| 13. | Несанкционированное подключение к инженерным сетям МВЦ «Крокус Экспо» | 8.6. | 50 000 рублей и лишение аккредитации на срок до 3 месяцев | штраф налагается представителем Генерального застройщика |
| 14. | Применение аудиовизуальной техники, используемой участниками мероприятий, без получения разрешения | 9.4. | 10 000 рублей и лишение аккредитации на срок до 1 месяца | штраф налагается представителем Генерального застройщика |
| 15. | Ввоз на территорию выставочного павильона, монтаж и использование оборудования и материалов, не предусмотренных проектной документацией, не имеющих сертификатов пожарной безопасности; использование для оформления выставочных стендов (экспозиций) горючих материалов, не обработанных огнезащитным составом. | Федеральный закон № 120-ФЗ от 03.06.2011 г. и приказ Директора МВЦ «Крокус Экспо» № 28 от 23.04.2015 г. «О порядке обеспечения пожарной безопасности на территории, в зданиях, сооружениях и помещениях объектов Красногорского филиала «Крокус Экспо» АО «КРОКУС» | 25 000 рублей | штраф налагается представителем Генерального застройщика или Управления пожарной охраны АО «КРОКУС». |
| 16. | Монтаж и эксплуатация электрооборудования с нарушениями правил устройства электроустановок, технической эксплуатации электроустановок потребителей; использование нестандартных (самодельных), поврежденных электроприборов электроарматуры; размещение ткани, бумаги и др. сгораемых материалов на осветительных приборах; размещение осветительного оборудования ближе 0,5 м от горючих материалов, экспозиций, декораций. | Федеральный закон № 120-ФЗ от 03.06.2011 г. и приказ Директора МВЦ «Крокус Экспо» № 28 от 23.04.2015 г. «О порядке обеспечения пожарной безопасности на территории, в зданиях, сооружениях и помещениях объектов Красногорского филиала «Крокус Экспо» АО «КРОКУС | 25 000 рублей | штраф налагается представителем Генерального застройщика или Управления пожарной охраны АО «КРОКУС». |
| 17. | Захламление ШРП или подхода к нему | 4.10 | 60. 000 рублей | штраф налагается представителем Генерального застройщика |

С момента получения нарушителем 2-го акта о нарушении «Правил и норм», действующих в МВЦ «Крокус Экспо», действие пункта соглашения 1.1 приостанавливается. При получении нарушителем Актов с различной степенью тяжести нарушения, срок приостановления действия Соглашения определяется по Акту с большей степенью тяжести штрафных санкций, предусмотренными за каждый определенный Акт.

В период приостановления Соглашения строительство возможно только по договору-заявке на оказание шеф-монтажных услуг.

| СТОРОНА № 1 ООО «БилдЭкспо» Генеральный директор __________________________/А.А.Фисенко/ | СТОРОНА № 2 ____________________/______________________/ |
| --- | --- |

М.П.	                                             М.П.

Appendix #2

To the Contract №                    of «  » of           2017

Table of violations of the main requirements during events at IEC «Crocus expo»

Krasnogorsk                                                                                                                                      «     » of             2017 г.

«BuildExpo», in the person of General director Fisenko A.A., working on the basis of Charter, on the one hand, and «Srl M.L. Systems» hereinafter referred to as «Customer»  in the person of General Director , working on the basis Charter, on the other hand, have concluded the present Contract as follows:

1. The Customer is obliged not to commit below listed violations during building at a show. In case of committing the Customer is obliged to pay the specified penal sanctions.

| № п/п | Type of violation | Point of Main requirements | Fine | Note |
| --- | --- | --- | --- | --- |
| 1 | Holding assembly work (mounting) on the basis of technical documentation, as not being in agreement order: - assembly (mounting) is another company; - if design not match with submitted project design document; - suspension design without agreement. | 4.1., 4.2., 4.3., 4.4., 4.5., 4.6. | 1383 euro and to deprive accreditation on period up to 1 year | Fine is imposed by the representative of General developer |
| 2 | Violation of the rules storage of construction materials and structures, including the mounting and dismounting: - blockage of passage; - storage of equipment, and personal items on the stands another company. | 4.10. | 230 euro and to deprive accreditation on period up to 1 month | Fine is imposed by the representative of General developer |
| 3 | The use of silica glass without protective film is prohibited, triplex or organic glass can be used. | 4.12. | 601 euro and to deprive accreditation on period up to 3 month | Fine is imposed by the representative of General developer |
| 4 | The use of stationary circular saws, Flat-grinding machines can’t be used without vacuum cleaner. | 4.14. | 601 euro and to deprive accreditation on period up to 6 month | Fine is imposed by the representative of General developer |
| 5 | The use in the production of works of open fire, performing welding or fire work. | 4.14. | 601 euro and to deprive accreditation on period up to 6 month | Fine is imposed by the representative of General developer |
| 6 | Violation of the rules of production mounting work at a height. | 4.22. | 461 euro and to deprive accreditation on period up to 6 month | Fine is imposed by the representative of General developer |
| 7 | Damage floor covering on exhibition halls: - painting stand without closing passes by film; - leaving the two side scotch (tape) on the floor. | 4.13., 4.26. | 601 euro and to deprive accreditation on period up to 1 month | Fine is imposed by the representative of General developer |
| 8 | Violation of the rules of execution of electrical work at IEC “Crocus Expo”. | 10 | 461 euro and to deprive accreditation on period up to 3 month | Fine is imposed by the representative of General developer |
| 9 | Violation of graphic mounting/dismounting (mounting on opening day). | 4.9. | 461 euro and to deprive accreditation on period up to 3 month | Fine is imposed by the representative of General developer |
| 10 | Dismounting by the caving. | 4.24. | 691 euro and to deprive accreditation on period up to 6 month | Fine is imposed by the representative of General developer |
| 11 | Absence information pillar of the established sample during mounting/dismounting work on the stand. | 4.28. | 230 euro and to deprive accreditation on period up to 1 month | Fine is imposed by the representative of General developer |
| 12 | Absence responsible for mounting/dismounting work on the stand. | 4.25. | 230 euro and to deprive accreditation on period up to 1 month | Fine is imposed by the representative of General developer |
| 13 | Unauthorized switch-on to engineer connections of IEC “Crocus Expo”. | 8.6. | 1152 euro and withdrawal of accreditation for up to 3 months. | Fine is imposed by the representative of General developer |
| 14 | The use of audiovisual equipment used by participants of activities without permission. | 9.4. | 230 euro and to deprive accreditation on period up to 1 month | Fine is imposed by the representative of General developer |
| 15 | Bringing into the territory of the exhibition pavilion, mounting and use of equipment and materials not provided for by the project documentation, without fire safety certificates, use of combustible materials without fire retarding treatment for decoration of exhibition stands (expositions). | Federal law No.120ФЗ dated 03.06.2011 and order of the Director of IEC CrocusExpo No.28 «On order to ensure fire safety in the territory, in buildings, structures and premises of objects of the Krasnogorsk Branch Crocus Expo of CJSC Crocus» dated 23.04.2015. | 250 euro | Fine is imposed by the representative of General developer or authorized representatives of the Fire Safety Department of CJSC Crocus. |
| 1 16 | Mounting and operation of electrical equipment in violation of the electrical installation regulations, technical operation of consumers’ electrical installations, use of non-standard (homemade), damaged electrical appliances; covering lighting devices with fabric, paper and other combustible materials; placing lighting equipment within 0.5 meters from combustible materials, expositions, decorations and sprinklers of fire extinguishing system. | Federal law No.120ФЗ dated 03.06.2011 and order of the Director of IEC CrocusExpo No.28 «On order to ensure fire safety in the territory, in buildings, structures and premises of objects of the Krasnogorsk Branch Crocus Expo of CJSC Crocus» dated 23.04.2015. | 250 euro | Fine is imposed by the representative of General developer or authorized representatives of the Fire Safety Department of CJSC Crocus. |
| 17 | Clutter of power distribution cabinet and blockage of passage to it. | 4.10 | 950 euro | Fine is imposed by the representative of General developer |

2. The present Application is an integral part of the Contract.

3. The Application comes into effect upon signature and is valid until the date of expiry of the Contract.

On receipt of the perpetrator of the 2nd act of violation of the "Rules and regulations", operating in the IEC "Crocus Expo", paragraph 1.1 of the agreement shall be suspended. Upon receipt of the offender acts with the various degrees of gravity of the violation, the period of suspension of the Agreement is determined by the Act with greater severity of penalties prescribed for each specific act.

During the suspension of the Agreement may be feasible only under the contract, the application for the provision of installation supervision services.

| Party № 1 LLC «Buildexpo» General Director __________________________/A.A.Fisenko/ | Party № 2 Nesperta sp. Z.o.o General director ____________________/ / |
| --- | --- |

L.S.	                                        L.S.